This program is prepared and submitted for an OSHPD 1 project.  OSHPD 1 projects include all construction and remodel projects for general acute-care hospitals and acute psychiatric hospitals.  OSHPD 1 projects also include construction and remodel of skilled nursing facilities and/or intermediate care facilities except those of single-story, Type V, wood or light steel-frame construction.

| A | Facility #: |  | Facility Name: |  |  |  | Project #: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Street Address: |  |  |  |  |  |  | Sub #: |  |
| City: |  |  |  |  |  |  | County: |  |
| Record Name (Scope of Project): |  |  |  |  |  |  |  |  |
| B | TESTS – DOCUMENTATION / CERTIFICATION REQUIRED |  |  |  |  | CONSTRUCTION VERIFICATION |  | OFFICE USE ONLY |
| STRUCTURAL TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Compact fill CBC 1705A.6 Filled material acceptance test |  |  |  |  |  |  |  | DSE: |
| Compact fill CBC 1705A.6 & J107.5 Compaction test |  |  |  |  |  |  |  | DSE: |
| Soil and rock anchors CBC 1811A & J106.2 Load test |  |  |  |  |  |  |  | DSE: |
| Deep foundation elements CBC 1810A.3.3.1.2, 1810A.3.1.5.1, 1810A.3.3.1.5, 1810A.3.3.2, & 1810A.3.10.4 Load test |  |  |  |  |  |  |  | DSE: |
| Shoring CBC J106.2 Shoring |  |  |  |  |  |  |  | DSE: |
| Vibro Stone Columns (VSC) CBC J112 Vibro Stone Columns |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, 1913A.1, ACI-318 3.1.2 & 3.2 Cementitous materials |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, 1903A.6, ACI-318 3.1.2 & 3.3.1 Aggregates/Reactive aggregates |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, ACI-318 3.1.2 & 3.4 Water |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, ACI-318 3.1.2 & 3.6 Admixtures |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, 1904A.2, ACI-318 5.3 & 5.4 Mix design |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, & 1905A.1.2, ACI-318 5.6 Strength test |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, 1913A.2, & ACI-318 3.5 Metal reinforcement (including welded wire fabric) |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3 & ACI-318 3.5.5 Headed studs and headed stud assemblies |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1903A.8 Welding of reinforcing bars |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1704A.3, 1913A.3 & ACI-318 3.5.6 & 18.21 Prestressing tendons and anchorage |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1914A.2, ACI 503.7 Sec. 1.5 Crack repair by epoxy injection |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1914A.3, ICC AC178 Sec. 9 Strengthening by externally bonded FRP |  |  |  |  |  |  |  | DSE: |
| Shotcrete CBC 1910A.5 Preconstruction test |  |  |  |  |  |  |  | DSE: |
| Shotcrete CBC 1910A.10, 1913A.5 Strength test |  |  |  |  |  |  |  | DSE: |
| Shotcrete CBC 1705A.18 Core test |  |  |  |  |  |  |  | DSE: |
| Post-installed anchors CBC 1913A.7 Installation verification test |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2105A.2.2.1.4, TMS 402 1.2.4, & TMS 402 1.19 Material standards tests |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2105A.2.2.1.4 & 2103A.9 Mortar test |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2105A.2.2.1.4 Grout test |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2103A.15 Additives and admixtures |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2105A.4 Core test |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2105A.2.2 & 2105A.3 Compressive strength f’m - prism test |  |  |  |  |  |  |  | DSE: |
| Steel CBC 2203A.1 Structural steel and cold formed steel |  |  |  |  |  |  |  | DSE: |
| Steel CBC 2213A.1 & 1705A.12.2 High strength bolts, nuts, and washers |  |  |  |  |  |  |  | DSE: |
| Steel CBC 2213A.2 & 1705A.12.2 End-welded studs |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705A.12.2 Buckling restrained brace (Load test) |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705A.2.1 & 1705A.12.2 Nondestructive weld test |  |  |  |  |  |  |  | DSE: |
| Steel CBC 2205A.4 & 1705A.12.2 Beam to column moment connections |  |  |  |  |  |  |  | DSE: |
| Miscellaneous CBC 1410.2.1 Veneer bond strength test |  |  |  |  |  |  |  | DSE: |
| Equipment and components CBC 1705A.12.4 Special Seismic Certification |  |  |  |  |  |  |  | DSE: |
| Isolators CBC 1705A.12.5 Prototype and production test |  |  |  |  |  |  |  | DSE: |
| Dampers CBC 1705A.12.5 Prototype and production test |  |  |  |  |  |  |  | DSE: |
| Structural Design Criteria CBC 104.11 Tests to support alternative system |  |  |  |  |  |  |  | DSE: |
| Structural Sealant Glazing CBC 2410.1.2 Structural sealant tests - Exterior glass curtain walls |  |  |  |  |  |  |  | DSE: |
| Structural Sealant Glazing CBC 2410.1.2 AAMA 501.4 & 501.6 tests - Ext. glass curtain walls |  |  |  |  |  |  |  | DSE: |
| ELECTRICAL TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Conductor Insulation Resistance Test CEC 110.3(A)(4) & 110.7 |  |  |  |  |  |  |  | CO: |
| Ground fault protection CEC 230.95(C) & 517.17(D) Performance test |  |  |  |  |  |  |  | CO: |
| Selective Coordination Study and Testing CEC 240.12 & CEC 700.27 |  |  |  |  |  |  |  | CO: |
| Ground resistance measurements CEC 250.53(A)(2) Performance test – 25 ohms or less |  |  |  |  |  |  |  | CO: |
| Equipment Ground Fault Testing CEC 517.17(C) & (D) |  |  |  |  |  |  |  | CO: |
| Emergency generator tests CEC 700.4(A) & NFPA 110-2013 § 7.13 |  |  |  |  |  |  |  | FLSO: |
| MECHANICAL TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Listed hood assemblies CMC 508.6 |  |  |  |  |  |  |  | CO: |
| Grease removal devices in hoods CMC 509.1 |  |  |  |  |  |  |  | CO: |
| Commercial kitchen hood ventilation CMC 511.2.2 Performance test |  |  |  |  |  |  |  | CO: |
| Refrigeration equipment CMC 1124.0 |  |  |  |  |  |  |  | CO: |
| Refrigeration detection and alarm system CMC 1121.4 & CFC 606.8 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Refrigeration flaring system CMC 1119.3 Safety and effectiveness |  |  |  |  |  |  |  | CO: |
| Steam and hot water boilers CMC 1020.0 & 1021.0 |  |  |  |  |  |  |  | CO: |
| Hydronics CMC 1201.3.9 Pressure test of steam and water piping |  |  |  |  |  |  |  | CO: |
| Hydronic panel heating system CMC 1207.0 Testing |  |  |  |  |  |  |  | CO: |
| Process piping CMC 1405.2 Pressure test |  |  |  |  |  |  |  | CO: |
| Ventilation system CMC 407.3.1 & Table 4-A Areas tested and balanced |  |  |  |  |  |  |  | CO: |
| Airborne Infection Isolation Rooms and Protective Environment Rooms CMC 416.4 Alarm system test |  |  |  |  |  |  |  | CO: |
| Airborne Infection Isolation Rooms and Protective Environment Rooms CMC 417.0 Mechanical system tested and balanced |  |  |  |  |  |  |  | CO: |
| PLUMBING TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Disinfection of potable water systems CPC 609.9 |  |  |  |  |  |  |  | CO: |
| Medical gas and vacuum NFPA 99-2012 § 5.1.12 Gas and vacuum system performance testing |  |  |  |  |  |  |  | CO: |
| Medical gas and vacuum NFPA 99-2012 § 5.1.12 Gas and vacuum system verification testing |  |  |  |  |  |  |  | CO: |
| Existing sewers and drains CPC 101.6.1 Tested for conformance with requirements for new work |  |  |  |  |  |  |  | CO: |
| Water supply system CPC 103.5 & 609.4 Pressure tested prior to covering or concealment |  |  |  |  |  |  |  | CO: |
| Plumbing, drainage, and venting systems CPC 103.5 & 712.0 Water or air tested prior to use, covering or concealment |  |  |  |  |  |  |  | CO: |
| Building sewer CPC 103.5 & 723.0 Water or air tested prior to use, covering or concealment |  |  |  |  |  |  |  | CO: |
| Storm drain piping CPC 1109.0 Water or air tested prior to use, covering or concealment |  |  |  |  |  |  |  | CO: |
| Fuel piping CPC 1213.0 Air, CO2 or nitrogen tested prior to use, covering or concealment |  |  |  |  |  |  |  | CO: |
| Private sewer disposal system CPC 103.5 Tested prior to use, covering or concealment |  |  |  |  |  |  |  | CO: |
| Protectively coated pipe CPC 312.5 Tested for voids, damage and imperfections |  |  |  |  |  |  |  | CO: |
| Joints and connections CPC 103.5.6.4 Pressure tested for gas and water tightness |  |  |  |  |  |  |  | CO: |
| Defective systems CPC 103.5.8.1 Air test of defective drainage and plumbing systems |  |  |  |  |  |  |  | CO: |
| Moved structures CPC 103.5.8.2 All parts of plumbing systems tested |  |  |  |  |  |  |  | CO: |
| Retesting CPC 103.5.9.2 Retest after corrections |  |  |  |  |  |  |  | CO: |
| Shower receptors CPC 408.7.1 |  |  |  |  |  |  |  | CO: |
| Backflow prevention devices and assemblies CPC 603.2, 603.4.2 Assembly tested |  |  |  |  |  |  |  | CO: |
| FIRE PROTECTION EQUIPMENT TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Fire alarm CFC 901.5, CFC 907.7, & NFPA 72-2013 § 14.4 Acceptance and reacceptance testing |  |  |  |  |  |  |  | FLSO: |
| Fire and smoke dampers CFC 901.5 & CFC 907.8 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Duct detectors CFC 901.5 & NFPA 72-2013 § 14.4 Differential pressure test |  |  |  |  |  |  |  | FLSO: |
| Smoke control system CFC 901.5 & CFC 909.18 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Fire sprinkler CFC 901.5 & NFPA 13-2013 Chapter 25 Acceptance testing – Aboveground piping |  |  |  |  |  |  |  | FLSO: |
| Fire sprinkler CFC 901.5 & NFPA 13-2013 Chapter 25 Acceptance testing – Underground piping |  |  |  |  |  |  |  | FLSO: |
| Standpipe system CFC 901.5 & NFPA 14-2013 Chapter 11 Acceptance testing – Aboveground piping |  |  |  |  |  |  |  | FLSO: |
| Standpipe system CFC 901.5 & NFPA 14-2013 Chapter 11 Acceptance testing – Underground piping |  |  |  |  |  |  |  | FLSO: |
| Private fire mains CFC 901.5 & NFPA 24-2013 § 10.10 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Fire pumps CFC 901.5 & NFPA 20-2013 § 14.1 & 14.2 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Fire protection water tank CFC 901.5 & NFPA 22-2013 Chapter 17 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Wet chemical extinguishing system CFC 901.5 & NFPA 17A-2013 § 6.4 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Clean agent extinguishing system CFC 901.5 & NFPA 2001-2012 § 7.7 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| CO2 extinguishing system CFC 901.5 & NFPA 12-2011 § 4.4.3 & 4.4.4 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Dry chemical extinguishing system CFC 901.5 & NFPA 17-2013 § 10.4 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| Halon 1301 extinguishing system CFC 901.5 & NFPA 12A-2009 § 6.7 Acceptance testing |  |  |  |  |  |  |  | FLSO: |
| OTHER TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Underground fuel storage tank CFC 5704.2.12 & NFPA 30-2012 § 21.5.1 Initial testing |  |  |  |  |  |  |  | FLSO: |
| Underground fuel storage tank CFC 5704.2.12 & NFPA 30-2012 § 21.5.2 Tightness testing |  |  |  |  |  |  |  | FLSO: |
| Flammable and combustible liquid fuel piping CFC 5703.6.3 Pressure testing |  |  |  |  |  |  |  | FLSO: |
| C |  | SPECIAL INSPECTIONS – DOCUMENTATION / CERTIFICATION REQUIRED |  |  |  | CONSTRUCTION VERIFICATION |  | OFFICE USE ONLY |
| ARCHITECTURAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Signs and/or identification devices CBC 11B-703.1.1.2 Information, appearance, location and braille |  |  |  |  |  |  |  | CO: |
| Exterior insulation and finish systems (EIFS) CBC 1705A.15 Installation |  |  |  |  |  |  |  | CO: |
| Water-resistive barrier coating CBC 1705A.15.1 & ASTM E 2570 Installation over sheathing substrate |  |  |  |  |  |  |  | CO: |
| Glass and glazing identification CBC 2403.1 Manufacturer’s material mark inspection |  |  |  |  |  |  |  | CO: |
| Radiation shielding verification CBC 3102C Radiation protection |  |  |  |  |  |  |  | CO: |
| STRUCTURAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Soils CBC 1705A.6 Soil fill |  |  |  |  |  |  |  | DSE: |
| Foundation CBC 1705A.7 Driven deep foundations |  |  |  |  |  |  |  | DSE: |
| Foundation CBC 1705A.8 Cast-in-place deep foundations |  |  |  |  |  |  |  | DSE: |
| Foundation CBC 1705A.9 Helical pile foundations |  |  |  |  |  |  |  | DSE: |
| Concrete/Prestressing bars for soil and rock anchors CBC 1704A.4 & J106.2 Concrete/Prestressing bars |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3 Placement of concrete |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3 CIP & Post-installed Bolts in concrete |  |  |  |  |  |  |  | DSE: |
| Concrete CBC Table 1705A.3, Adhesive anchors in horizontal and upwardly inclined positions |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3, Specialty inserts, Stud rails, Rebar mechanical conn., Headed rebar |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3 Reinforcing steel and prestressing steel |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.12.1 Concrete reinforcement for seismic resistance |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3.2 Batch plant inspection |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3.4 Prestressed concrete |  |  |  |  |  |  |  | DSE: |
| Shotcrete CBC 1705A.18 |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3 Insulating concrete |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.2.2.1.2, 1903A.8 Welding of reinforcing bars |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705A.3 Precast panels |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 17054A.11.3 GFRC panels |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1914A.2, ACI 503.7 Sec. 1.5 Crack repair by epoxy injection |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1914A.3, ICC AC178 Sec. 3 to 8 Strengthening by externally bonded FRP |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 1704A.5 Laying and grouting |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2104A.5.1.1.2 & 2104A.5.1.2.2 Low lift grout |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 2104A.5.1.1.3 & 2104A.5.1.2.3 High lift grout |  |  |  |  |  |  |  | DSE: |
| Masonry CBC 1704A.5 Masonry anchors |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705A.2 & 1705A.11.1 Steel shop fabrication |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705A.2 & 1705A.11.1 Automatic end-welded stud |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705A.2 & 1705A.11.1 Shop and field welding |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705A.2 & 1705A.11.1 High strength bolt installation |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705A.10.2 & 1705A.11.3 Cold-formed steel light frame construction |  |  |  |  |  |  |  | DSE: |
| Wood CBC 1705A.5 & 1705A.5.4 Glue laminated timber |  |  |  |  |  |  |  | DSE: |
| Wood CBC 1705A.5.6 Installation of timber connectors |  |  |  |  |  |  |  | DSE: |
| Wood CBC 1705A.5 & 1705A.5.5 Manufactured trusses |  |  |  |  |  |  |  | DSE: |
| Architectural components CBC 1705A.11.5 & 1705A.15 Cladding, nonbearing walls and veneer |  |  |  |  |  |  |  | DSE: |
| Access floors CBC 1705A.11.5.1 Anchorage of access floor systems |  |  |  |  |  |  |  | DSE: |
| Ceiling CBC 1704A.3.1 & 1705A.11.5 Suspended ceiling system and their anchorage |  |  |  |  |  |  |  | DSE: |
| Structural Sealant Glazing CBC 2410.1.2 Structural sealants for exterior glass curtain walls |  |  |  |  |  |  |  | DSE: |
| Alternative system CBC 1705A.1.1 Construction materials and methods for alternative system |  |  |  |  |  |  |  | DSE: |
| Shoring CBC J106.2 Shoring |  |  |  |  |  |  |  | DSE: |
| Vibro Stone Columns (VSC) CBC J112 Vibro Stone Columns |  |  |  |  |  |  |  | DSE: |
| Mechanical and electrical components CBC 1705A.11.6 Anchorage, Bracing, and Vibration Isolators |  |  |  |  |  |  |  | DSE: |
| Special Seismic Certification CBC 1705A.11.4 Special Seismic Certification label and anchorage or mounting |  |  |  |  |  |  |  | DSE: |
| Seismic isolation and damping system CBC 1705A.11.8 Fabrication, installation, prototype, and production testing |  |  |  |  |  |  |  | DSE: |
| Aluminum CBC 2003.1 Inspection |  |  |  |  |  |  |  | DSE: |
| MECHANICAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Visually inspect filter banks for torn media and bypass filter frames CMC 408.1.3 |  |  |  |  |  |  |  | CO: |
| Process piping CMC 1405.2 Installation |  |  |  |  |  |  |  | CO: |
| PLUMBING INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Fuel piping CPC 1204.0 |  |  |  |  |  |  |  | CO: |
| Medical gas NFPA 99-2012 Chapter 5 Brazing and labeling of systems |  |  |  |  |  |  |  | CO: |
| FIRE PROTECTION INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |
| Fire-resistant materials CBC 1705A.13 Spray-applied fireproofing |  |  |  |  |  |  |  | FLSO: |
| Fire-resistant materials CBC 1705A.14 Mastic and intumescent fire resistant coatings |  |  |  |  |  |  |  | FLSO: |
| Fire-resistant penetrations CBC 1705A.16.1 Penetration firestop systems |  |  |  |  |  |  |  | FLSO: |
| Fire-resistant joints CBC 1705A.16.2 Fire-resistant joint systems |  |  |  |  |  |  |  | FLSO: |
| Smoke control systems CBC 1705A.17 Ductwork and operation |  |  |  |  |  |  |  | FLSO: |
| Sprinkler system piping CFC 901.5 & NFPA 13-2013 § 6.5.2 Welded pipe and fittings |  |  |  |  |  |  |  | FLSO: |
| Standpipe system piping CFC 901.5 & NFPA 14-2013 § 4.4.2 Welded pipe and fittings |  |  |  |  |  |  |  | FLSO: |
| OTHER SPECIAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD | IOR |  | FDD CONSTRUCTION ACCEPTANCE |

| D | CONSTRUCTION OBSERVATION AND REPORTING |  |  |  |  |  |  |  |  | FOR OFFICE USE ONLY |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ref. No. | REQUIRED CONSTRUCTION OBSERVATION (See “PERSONAL KNOWLEDGE” as defined in California Administrative Code, Section 7-151) | VERIFIED COMPLIANCE REPORT REQUIRED AS INDICATED (Form OSH-FD-123) |  |  |  |  |  |  |  |  |
|  | *MILESTONES | GEOR | AOR | SEOR | MEOR | EEOR | CONT | SP INSP | IOR | OSHPD FDD |
|  | FINAL VERIFIED COMPLIANCE REPORT AT COMPLETION |  |  |  |  |  | X |  | X |  |

| E | Samples of Test and Inspection Reports are: (NOT required for tests performed by laboratories approved through OPL Program) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Attached To be provided following determination of the responsible firm(s) or individual(s). Samples shall be submitted to and approved by the Office, prior to proceeding with the work that requires tests or special inspections. Not applicable. Project has no required tests or special inspections. Required test and inspection reports shall be prepared and submitted to OSHPD/FDD within ____ days of the completion of all tests and inspections. If not designated, all reports shall be submitted to the Office within 15 calendar days. In addition to the preprinted tests and special inspections identified on this form, this program includes additional tests and special inspections as indicated: Other Tests Other Special Inspections See Attachment Verification that approved test and inspection agencies are objective, competent and independent as required by the CBC 2013 Section 1703A.1.1: Verification of independence and acceptance of test and inspection agencies by Registered Design Professional (RDP) in responsible charge In accordance with the CAC Section 7-141. Testing agency qualification for approval or approval of testing agencies through OPL program. Inspection agency qualification for approval. This program has been prepared and submitted for an OSHPD 1 project. OSHPD 1 projects include all construction and remodel projects for general acute care hospitals and acute psychiatric hospitals. OSHPD 1 projects also include construction and remodel of skilled nursing facilities and/or intermediate care facilities except those of single-story, Type V, wood or light steel-frame construction. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Submitted by: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Architect/Engineer of Record (Print Name) |  | Professional License # |  |  | Architect/Engineer of Record (Signature) |  |  |  |  |  | Date |  |
| FOR OFFICE USE ONLY |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OSHPD Plan Approval: Name Date |  |  |  | OSHPD Field Acceptance: Name Date |  |  |  |  |  |  |  |  |  |
| Architectural Date |  |  |  | A |  |  |  | AC |  | D |  |  |  |
| Structural Date |  |  |  | A |  |  |  | AC |  | D |  |  |  |
| Mechanical Date |  |  |  | A |  |  |  | AC |  | D |  |  |  |
| Electrical Date |  |  |  | A |  |  |  | AC |  | D |  |  |  |
| Fire and Life Safety Date |  |  |  | A |  |  |  | AC |  | D |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |

NOTE:  For Testing, Inspection and Observation Program Instructions, visit our website.