This program is prepared and submitted for an OSHPD 2 project.  OSHPD 2 projects are limited to construction and remodel projects for skilled nursing facilities and/or intermediate-care facilities of single-story, Type V, wood or light steel-frame construction

| A | Facility #: |  | Facility Name: |  |  |  | Project #: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Street Address: |  |  |  |  |  |  | Sub #: |  |  |
| City: |  |  |  |  |  |  | County: |  |  |
| Record Name (Scope of Project): |  |  |  |  |  |  |  |  |  |
| B | TESTS – DOCUMENTATION / CERTIFICATION REQUIRED |  |  |  |  |  |  | CONSTRUCTION VERIFICATION | OFFICE USE ONLY |
| STRUCTURAL TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL |  | *TBD |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Compact fill CBC 1705.6 Filled material acceptance test |  |  |  |  |  |  |  |  | DSE: |
| Compact fill CBC 1705.6 & J107.5 Compaction test |  |  |  |  |  |  |  |  | DSE: |
| Deep foundation elements CBC 1810.3.3.1.2, 1810.3.3.1.5, 1810.3.1.5.1, 1810.3.1.3 & 1810.3.10.4.1 Load test |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1, ACI-318 3.1.2 & 3.2 Cementitous materials |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1, ACI-318 3.1.2 & 3.3.1 Aggregates |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1, ACI-318 3.1.2 & 3.4 Water |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1, ACI-318 3.1.2 & 3.6 Admixtures |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1, 1904.2, ACI-318 5.3 & 5.4 Mix design |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1, ACI-318 5.6 Strength test |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1 & ACI-318 3.5 Metal reinforcement (including welded wire fabric) |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1 & ACI-318 3.5.5 Headed studs and headed stud assemblies |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3.1 & ACI-318 3.5.6 & 18.21 Prestressing tendons and anchorage |  |  |  |  |  |  |  |  | DSE: |
| Post-installed anchors CBC 1909.2 Installation verification test |  |  |  |  |  |  |  |  | DSE: |
| Special Seismic Certification CBC 1705.12.3 |  |  |  |  |  |  |  |  | DSE: |
| ELECTRICAL TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL |  | *TBD |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Conductor Insulation Resistance Test CEC 110.3(A)(4) & 110.7 |  |  |  |  |  |  |  |  | CO: |
| Ground fault protection CEC 230.95(C) & 517.17(D) Performance test |  |  |  |  |  |  |  |  | CO: |
| Selective Coordination Study and Testing CEC 240.12 & CEC 700.27 |  |  |  |  |  |  |  |  | CO: |
| Ground resistance measurements CEC 250.53(A)(2) Performance test – 25 ohms or less |  |  |  |  |  |  |  |  | CO: |
| Equipment Ground Fault Testing CEC 517.17(C) & (D) |  |  |  |  |  |  |  |  | CO: |
| Emergency generator tests CEC 700.4(A) & NFPA 110-2013 § 7.13 |  |  |  |  |  |  |  |  | FLSO: |
| MECHANICAL TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL |  | *TBD |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Listed hood assemblies CMC 508.6 |  |  |  |  |  |  |  |  | CO: |
| Grease removal devices in hoods CMC 509.1 |  |  |  |  |  |  |  |  | CO: |
| Commercial kitchen hood ventilation CMC 511.22 Performance test |  |  |  |  |  |  |  |  | CO: |
| Refrigeration equipment CMC 1124.0 Acceptance |  |  |  |  |  |  |  |  | CO: |
| Refrigeration detection and alarm system CMC 1121.4 & CFC 606.8 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Refrigeration flaring system CMC 1119.3 Safety and effectiveness |  |  |  |  |  |  |  |  | CO: |
| Steam and hot water boilers CMC 1020.0 & 1021.0 |  |  |  |  |  |  |  |  | CO: |
| Hydronics CMC 1201.3.9 Pressure test of steam and water piping |  |  |  |  |  |  |  |  | CO: |
| Hydronic panel heating system CMC 1207.0 Testing |  |  |  |  |  |  |  |  | CO: |
| Process piping CMC 1405.2 Pressure test |  |  |  |  |  |  |  |  | CO: |
| Ventilation system CMC 407.3.1 & Table 4-A Areas tested and balanced |  |  |  |  |  |  |  |  | CO: |
| Airborne Infection Isolation Rooms and Protective Environment Rooms CMC 416.4 Alarm system test |  |  |  |  |  |  |  |  | CO: |
| Airborne Infection Isolation Rooms and Protective Environment Rooms CMC 417.0 Mechanical system tested and balanced |  |  |  |  |  |  |  |  | CO: |
| PLUMBING TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL |  | *TBD |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Disinfection of potable water systems CPC 609.9 |  |  |  |  |  |  |  |  | CO: |
| Medical gas and vacuum NFPA 99-2012 § 5.1.12 Gas and vacuum system performance testing |  |  |  |  |  |  |  |  | CO: |
| Medical gas and vacuum NFPA 99-2012 § 5.1.12 Gas and vacuum system verification testing |  |  |  |  |  |  |  |  | CO: |
| Existing sewers and drains CPC 101.6.1 Tested for conformance with requirements for new work |  |  |  |  |  |  |  |  | CO: |
| Water supply system CPC 103.5 & 609.4 Pressure tested prior to covering or concealment |  |  |  |  |  |  |  |  | CO: |
| Plumbing, drainage, and venting systems CPC 103.5 & 712.0 Water or air tested prior to use, covering or concealment |  |  |  |  |  |  |  |  | CO: |
| Building sewer CPC 103.5 & 723.0 Water or air tested prior to use, covering or concealment |  |  |  |  |  |  |  |  | CO: |
| Storm drain piping CPC 1109.0 Water or air tested prior to use, covering or concealment |  |  |  |  |  |  |  |  | CO: |
| Fuel piping CPC 1213.0 Air, CO2 or nitrogen tested prior to use, covering or concealment |  |  |  |  |  |  |  |  | CO: |
| Private sewer disposal system CPC 103.5 Tested prior to use, covering or concealment |  |  |  |  |  |  |  |  | CO: |
| Protectively coated pipe CPC 312.5 Tested for voids, damage and imperfections |  |  |  |  |  |  |  |  | CO: |
| Joints and connections CPC 103.5.6.4 Pressure tested for gas and water tightness |  |  |  |  |  |  |  |  | CO: |
| Defective systems CPC 103.5.8.1 Air test of defective drainage and plumbing systems |  |  |  |  |  |  |  |  | CO: |
| Moved structures CPC 103.5.8.2 All parts of plumbing systems tested |  |  |  |  |  |  |  |  | CO: |
| Retesting CPC 103.5.9.2 Retest after corrections |  |  |  |  |  |  |  |  | CO: |
| Shower receptors CPC 408.7.1 |  |  |  |  |  |  |  |  | CO: |
| Backflow prevention devices and assemblies CPC 603.1, 603.2, 603.3 & Table 603.2 Assembly tested |  |  |  |  |  |  |  |  | CO: |
| FIRE PROTECTION EQUIPMENT TESTS |  |  |  | RESPONSIBLE FIRM OR INDIVIDUAL |  | *TBD |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Fire alarm CFC 901.5, CFC 907.7, & NFPA 72-2013 § 14.4 Acceptance and reacceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Fire and smoke dampers CFC 901.5 & CFC 907.8 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Duct detectors CFC 901.5 & NFPA 72-2013 § 14.4 Differential pressure test |  |  |  |  |  |  |  |  | FLSO: |
| Smoke control system CFC 901.5 & CFC 909.18 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Fire sprinkler CFC 901.5 & NFPA 13-2013 Chapter 25 Acceptance testing – Aboveground piping |  |  |  |  |  |  |  |  | FLSO: |
| Fire sprinkler CFC 901.5 & NFPA 13-2013 Chapter 25 Acceptance testing – Underground piping |  |  |  |  |  |  |  |  | FLSO: |
| Standpipe system CFC 901.5 & NFPA 14-2013 Chapter 11 Acceptance testing – Aboveground piping |  |  |  |  |  |  |  |  | FLSO: |
| Standpipe system CFC 901.5 & NFPA 14-2013 Chapter 11 Acceptance testing – Underground piping |  |  |  |  |  |  |  |  | FLSO: |
| Private fire mains CFC 901.5 & NFPA 24-2013 § 10.10 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Fire pumps CFC 901.5 & NFPA 20-2013 § 14.1 & 14.2 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Wet chemical extinguishing system CFC 901.5 & NFPA 17A-2013 § 6.4 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Clean agent extinguishing system CFC 901.5 & NFPA 2001-2012 § 7.7 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| CO2 extinguishing system CFC 901.5 & NFPA 12-2011 § 4.4.3 & 4.4.4 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Dry chemical extinguishing system CFC 901.5 & NFPA 17-2013 § 10.4 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| Halon 1301 extinguishing system CFC 901.5 & NFPA 12A-2009 § 6.7 Acceptance testing |  |  |  |  |  |  |  |  | FLSO: |
| OTHER TESTS |  |  |  | RESPONSIBLE INDIVIDUAL |  | *TBD |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Underground fuel storage tank CFC 5704.2.12 & NFPA 30-2012 § 21.5.1 Initial testing |  |  |  |  |  |  |  |  | FLSO: |
| Underground fuel storage tank CFC 5704.2.12 & NFPA 30-2012 § 21.5.2 Tightness testing |  |  |  |  |  |  |  |  | FLSO: |
| Flammable and combustible liquid fuel piping CFC 5703.6.3 Pressure testing |  |  |  |  |  |  |  |  | FLSO: |
| C |  | SPECIAL INSPECTIONS – DOCUMENTATION / CERTIFICATION REQUIRED |  |  |  |  |  | CONSTRUCTION VERIFICATION | OFFICE USE ONLY |
| ARCHITECTURAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD |  |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Signs and/or identification devices CBC 11B-703.1.1.2 Information, appearance, location and braille |  |  |  |  |  |  |  |  | CO: |
| Exterior insulation and finish systems (EIFS) CBC 1705.15 Installation |  |  |  |  |  |  |  |  | CO: |
| Water-resistive barrier coating CBC 1705.15.1 & ASTM E 2570 Installation over sheathing substrate |  |  |  |  |  |  |  |  | CO: |
| Glass and glazing identification CBC 2403.1 Manufacturer’s material mark inspection |  |  |  |  |  |  |  |  | CO: |
| STRUCTURAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD |  |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Foundation CBC 1705.6 Fill for structures |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3 Placement of concrete |  |  |  |  |  |  |  |  | DSE: |
| Foundation CBC 1705.7, 1705.8 & 1705.9 Deep foundation elements |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3 Reinforcing steel and prestressing steel |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.2.2.1.2 & 1705.3 Welding of reinforcing bars |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3 Bolts installed in concrete |  |  |  |  |  |  |  |  | DSE: |
| Concrete CBC 1705.3 Post-installed anchors installed in concrete |  |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705.2 Structural welding |  |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705.2 High strength bolting |  |  |  |  |  |  |  |  | DSE: |
| Steel CBC 1705.10.2 & 1705.11.3 Cold-formed steel light frame construction |  |  |  |  |  |  |  |  | DSE: |
| Structural masonry CBC 1705.4 |  |  |  |  |  |  |  |  | DSE: |
| Insulating concrete fill CBC 1705.3 & 1705.1.1 |  |  |  |  |  |  |  |  | DSE: |
| Wood CBC 17055.3 Manufactured trusses |  |  |  |  |  |  |  |  | DSE: |
| Wood CBC 1705A.5 Wood Construction |  |  |  |  |  |  |  |  | DSE: |
| Architectural components CBC 1705.11.5 & 1705.15 Cladding, nonbearing walls and veneer |  |  |  |  |  |  |  |  | DSE: |
| Miscellaneous CBC 1705.1.1 Site work where special hazards exist |  |  |  |  |  |  |  |  | DSE: |
| Certification of components CBC 1705.12.3 |  |  |  |  |  |  |  |  | DSE: |
| Architectural components CBC 1707.6 |  |  |  |  |  |  |  |  | DSE: |
| Equipment anchorage and bracing CBC 1707.7 |  |  |  |  |  |  |  |  | DSE: |
| MECHANICAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD |  |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Visually inspect filter banks for torn media and bypass filter frames CMC 408.1.3 |  |  |  |  |  |  |  |  | CO: |
| Process piping CMC 1405.0 Inspections |  |  |  |  |  |  |  |  | CO: |
| PLUMBING INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD |  |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Fuel piping CPC 1204.0 |  |  |  |  |  |  |  |  | CO: |
| Medical gas NFPA 99-2012 Chapter 5 Brazing and labeling of systems |  |  |  |  |  |  |  |  | CO: |
| FIRE PROTECTION INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD |  |  | IOR | FDD CONSTRUCTION ACCEPTANCE |
| Fire resistant materials CBC 1705.13 Spray-applied fireproofing |  |  |  |  |  |  |  |  | FLSO: |
| Fire-resistant materials CBC 1705.14 Mastic and intumescent fire resistant coatings |  |  |  |  |  |  |  |  | FLSO: |
| Fire-resistant penetrations CBC 1705.16.1 Penetration firestop systems |  |  |  |  |  |  |  |  | FLSO: |
| Fire-resistant joints CBC 1705.16.2 Fire-resistant joint systems |  |  |  |  |  |  |  |  | FLSO: |
| Smoke control systems CBC 1705.17 Ductwork and operation |  |  |  |  |  |  |  |  | FLSO: |
| Sprinkler system piping CFC 901.5 & NFPA 13-2013 § 6.5.2 Welded pipe and fittings |  |  |  |  |  |  |  |  | FLSO: |
| Standpipe system piping CFC 901.5 & NFPA 14-2013 § 4.4.2 Welded pipe and fittings |  |  |  |  |  |  |  |  | FLSO: |
| OTHER SPECIAL INSPECTIONS |  |  |  | RESPONSIBLE INDIVIDUAL | *TBD |  |  | IOR | FDD CONSTRUCTION ACCEPTANCE |

| D | CONSTRUCTION OBSERVATION AND REPORTING |  |  |  |  |  |  |  |  | FOR OFFICE USE ONLY |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ref. No. | REQUIRED CONSTRUCTION OBSERVATION (See “PERSONAL KNOWLEDGE” as defined in California Administrative Code, Section 7-151) | VERIFIED COMPLIANCE REPORT REQUIRED AS INDICATED (Form OSH-FD-123) |  |  |  |  |  |  |  |  |
|  | *MILESTONES | GEOR | AOR | SEOR | MEOR | EEOR | CONT | SP INSP | IOR | OSHPD FDD |
|  | FINAL VERIFIED COMPLIANCE REPORT AT COMPLETION |  |  |  |  |  | X |  | X |  |

| E | Samples of Test and Inspection Reports are: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Attached To be provided following determination of the responsible firm(s) or individual(s). Samples shall be submitted to and approved by the Office, prior to proceeding with the work that requires tests or special inspections. Not applicable. Project has no required tests or special inspections. Required test and inspection reports shall be prepared and submitted to OSHPD/FDD within ____ days of the completion of all tests and inspections. If not designated, all reports shall be submitted to the Office within 15 calendar days. In addition to the preprinted tests and special inspections identified on this form, this program includes additional tests and special inspections as indicated: Other Tests Other Special Inspections See Attachment This program has been prepared and submitted for an OSHPD 2 project. OSHPD 2 projects include all construction and remodel projects for general acute care hospitals and acute psychiatric hospitals. OSHPD 2 projects also include construction and remodel of skilled nursing facilities and/or intermediate care facilities except those of single-story, Type V, wood or light steel-frame construction. |  |  |  |  |  |  |
|  | Submitted by: |  |  |  |  |  |  |
|  | Architect/Engineer of Record (Print Name) |  | Professional License # |  | Architect/Engineer of Record (Signature) |  | Date |

FOR OFFICE USE ONLY

| OSHPD Plan Approval: Name Date | OSHPD Field Acceptance: Name Date |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Architectural Date | A |  | AC |  | D |  |
| Structural Date | A |  | AC |  | D |  |
| Mechanical Date | A |  | AC |  | D |  |
| Electrical Date | A |  | AC |  | D |  |
| Fire and Life Safety Date | A |  | AC |  | D |  |
| Comments: |  |  |  |  |  |  |

NOTE:  For Testing, Inspection and Observation Program Instructions, visit our website.